## Sheet1
C100 Battery Calibration guide
1. Execute "setup.exe" to Setup
2. Execute "B106C1xx.exe" to start program
3. Set Power Supply
1) Login
Click "OK" Button
2) Click "Setup" & "Power Supply" on menu
3) Auto battery cal -> Select "Power Supply Model"
4) If you want to do manual battery cal , select " NONE "
4. Start " Battery calibration "
Click " File -> Open -> Auto Cal directory " . And Load " Battery Cal_C1xx.SQU "
5. Click " OK " button
6. Click " Test UUT "
7. Click " OK " Button (Don't input anything)